{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Principal","Donnees","Donnees2"],"not_rendered":{"charts":1,"images":13,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Principal","index":0,"n_rows":27,"n_cols":11,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,2,3,7],[23,1,23,4],[6,1,6,3],[9,1,9,3],[18,1,18,2],[20,1,20,3],[9,6,9,10],[10,6,10,10],[4,3,4,4],[4,5,4,6]]}
[]
[null,null,"Calcul des différents spectres - RPA 2024"]
[]
[]
[null,null,null,"abdellatif-megnounif.com",null,"Mes cours\\RPA2024"]
[]
[null,"Type du spectre"]
[null,"Direction du spectre"]
[]
[null,"Données du projet",null,null,null,null,"Données du spectre"]
[null,"Type de matériau",null,null,null,null,"Spectre Elastique Vertical"]
[null,"Zone",null,null,null,null," Av "," I "," S "," Ksi (%) ","Alpha"]
[null,"Type de site",null,null,null,null,8.2500000000000004E-2,1.2,1,5,0.8]
[null,"Groupe d'importance"]
[null,null,null,null,null,null," R "," Qf "," T1 (s) "," T2 (s) "," T3 (s) "]
[null,"Système de contreventement",null,null,null,null,"/",1,0.05,0.2,1]
[null,"Catégorie de pondération"]
[]
[null,"Valeur de l'amortissement (%)",null,5]
[]
[null,"Type de contrevetement pour la valeur de CT"]
[]
[]
[null,"facteur de qualité QF"]
[null,"Régularité en plan"]
[null,"Régularité en élévation"]
[null,"Redondance en plan"]

{"sheet":"Donnees","index":1,"n_rows":26,"n_cols":7,"rows_kept":26,"cut":false,"hidden":true,"merged":[]}
[]
["Choisir un materiau","Beton","Acier ","PAF","Maconnerie","Bois","Autres"]
[null,"Choisir un systeme","Choisir un systeme","Choisir un systeme","Choisir un systeme","Choisir un systeme","Choisir un systeme"]
[null,"Ossatures","Portiques sans remplissage","Panneaux en PAF","Maconnerie porteuse chainee","Consoles","OMC par diaphragme"]
[null,"Mixte-equivalent ossature","Portiques avec remplissage","PAF en diagonales tendues",null,"Poutres Arcs Treilis","OMC par noyau"]
[null,"Mixte-equivalent ossature avec remplissage","Palees a barres centrees en X",null,null,"Murs en ossature Treillis broche et boulonne","OMC voiles en BA"]
[null,"Mixte-equivalent voiles","Palees a barres centrees en V",null,null,"Portiques hyperstatiques","OMC mixte noyau en BA + palees metalliques"]
[null,"Voiles","Portiques avec palees a barres centrees en X",null,null,null,"OMC mixte noyau en BA + portiques metalliques"]
[null,"Noyau","Portiques avec palees a barres centrees en V"]
[null,"Console verticale","Pendule inverse"]
[null,"Pendule inverse"]
[null,"Voiles grandes dimensions en beton peu arme"]
[]
[]
[]
["Choisir une zone","I","II","III","IV","V","VI"]
[]
["Choisir un site","S1","S2","S3","S4"]
[]
["Choisir un groupe","1A","1B",2,3]
[null,"                   "]
["Choisir un systeme","Ossatures spatiales en BA sans remplissage en maconnerie","Portiques spatiaux en acier sans remplissage en maconnerie","Ossatures en portiques en BA ou acier avec remplissage en maconnerie","Autres types de structures"]
[]
["qualite","Obs","N/obs"]
[]
["spectre","Horizontal","Vertical"]

{"sheet":"Donnees2","index":2,"n_rows":20,"n_cols":4,"rows_kept":20,"cut":false,"hidden":true,"merged":[]}
[]
[null,"a","b","c"]
[null,"Ossatures","Mixte-equivalent voiles","Pendule inverse"]
[null,"Mixte-equivalent ossature","Voiles","Voiles grandes dimensions en beton peu arme"]
[null,"Mixte-equivalent ossature avec remplissage","Noyau","PAF en diagonales tendues"]
[null,"Portiques sans remplissage","Console verticale","Consoles"]
[null,"Portiques avec remplissage","Palees a barres centrees en X","Poutres Arcs Treilis"]
[null,null,"Palees a barres centrees en V"]
[null,null,"Portiques avec palees a barres centrees en X"]
[null,null,"Portiques avec palees a barres centrees en V"]
[null,null,"Pendule inverse"]
[null,null,"Panneaux en PAF"]
[null,null,"Maconnerie porteuse chainee"]
[null,null,"Murs en ossature Treillis broche et boulonne"]
[null,null,"Portiques hyperstatiques"]
[null,null,"OMC par diaphragme"]
[null,null,"OMC par noyau"]
[null,null,"OMC voiles en BA"]
[null,null,"OMC mixte noyau en BA + palees metalliques"]
[null,null,"OMC mixte noyau en BA + portiques metalliques"]