{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Moments"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Moments","index":0,"n_rows":13,"n_cols":7,"rows_kept":13,"cut":false,"hidden":false,"merged":[[3,3,3,5],[3,6,3,7],[6,6,6,9],[6,1,6,3],[7,1,7,2],[11,1,11,2],[11,6,11,7],[7,6,7,8],[8,6,8,8],[9,6,9,8],[10,1,10,2],[8,1,8,2],[9,1,9,2]]}
[]
[null,null,null,null,null,"Enveloppe de Calcul du Diagramme des Moments Fléchissants"]
[null,null,null,null,null,"Selon les RPA 2024"]
[null,null,null,"abdellatif-megnounif.com",null,null,"mes cours∖RPA2024"]
[]
[]
[null,"Données du mur voile",null,null,null,null,"Quelques vérifications "]
[null,"Largeur du mur (m) : lw=",null,null,null,null,"Voile ? 𝒍𝒘 ≥ 𝐦𝐚𝐱(𝐡𝐞/𝟑, 𝟒 𝐛𝐰 , 𝟏 𝐦) ?"]
[null,"Epaisseur du mur (m) : bw=",null,null,null,null,"bw_min ? 𝒃𝒘 ≥ 𝒎𝒂𝒙(𝟏𝟓 𝒄𝒎,   𝒉𝒆/𝟐𝟎) ?"]
[null,"Hauteur totale du mur (m) : hw=",null,null,null,null,"Elancement ? 𝒉𝒘/𝒍𝒘 > 𝟐.𝟎 ?"]
[null,"Hauteur libre d'étage (m) : he="]
[null,"Nombre d'étages : Nb_etages =",null,null,null,null,"Calcul hauteur critique"]
[null,null,null,null,null,null,"hcr ="]